Data + Statistics REPORT

Investigating the effects of fecal microbial transplantation (FMT) in both a murine model and in human patients suffering from IBD HSAE-01-24MD+

CLIENT: Hôpital Saint-Antoine (AP-HP) Harry Sokol, MD, PhD AUTHOR: Brian Ingram, PhD APPROVAL: Edward D. Karoly, PhD DATE: May 29, 2025

Metabolon, Inc. • 617 Davis Drive, Suite 100, Morrisville, NC 27560 • (919) 572-1711

www.metabolon.com • Contact: info@metabolon.com

Contents

Objective	3

Experimental Procedures	3

Results	5

Metabolite Summary and Significantly Altered Biochemicals	5

Study Parameters	9

Data Quality: Instrument and Process Variability	9

Appendix	10

Metabolon Platform	10

Statistical Methods and Terminology	14

# Objective

Purpose of Experiment

The goal of this study was to investigate the effects of FMT in germ free mice and the effects of FMT (from healthy human donors) on IBD patients.

# Experimental Procedures

Experimental Design

Metabolon received 32 mouse plasma, 32 mouse cecum contents, 33 human plasma and 31 human feces samples on April 9th, 2025. Global metabolomic profiles were determined from the experimental groups outlined below (Table 1).

Matrix (1): Mouse plasma

| Group | Description | N |
| --- | --- | --- |
| GF_FMT_Aged | Serum samples from germ free Mice who received FMT from “old” mice | 8 |
| GF_FMT_Young | Serum samples from germ free Mice who received FMT from “young” mice | 8 |
| Aged | Serum samples from “old” mice | 8 |
| Young | Serum samples from “young” mice | 8 |

Matrix (2): Mouse cecum contents

| Group | Description | N |
| --- | --- | --- |
| GF_FMT_Aged | Coecum samples from Mice who received FMT from “old” mice | 8 |
| GF_FMT_Young | Coecum samples from Mice who received FMT from “young” mice | 8 |
| Aged | Coecum samples from “old” mice | 8 |
| Young | Coecum samples from “young” mice | 8 |

Matrix (3): Human plasma

| Group | Description | N |
| --- | --- | --- |
| Pre_FMT | Serum samples from patients before FMT | 11 |
| Post_FMT | Serum samples from patients after FMT | 11 |
| Healthy | Serum samples from healthy human controls | 11 |

Matrix (4): Human feces*

| Group | Description | N |
| --- | --- | --- |
| Pre_FMT | Fecal samples from patients with C difficile infection before FMT from healthy human donors. (N.B. treated with EtOH.) | 10 |
| Post_FMT | Fecal samples from patients with C difficile infection 10 weeks after FMT from healthy human donors. (N.B. treated with EtOH.) | 11 |
| Healthy | Fecal samples from healthy human donors used for FMT. (N.B. snap-frozen.) | 10 |

Table 1.  The experimental design of this study.

* It is noted that 21 of human stool samples were collected  in 95% ethanol, specifically those from the “Pre_FMT” and “Post_FMT” groups.  Fecal samples from the remaining 10 “healthy” subjects were provided as fresh frozen samples.  All samples were dried and processed on an equivalent dry weight basis.

# Results

## Metabolite Summary and Significantly Altered Biochemicals

The present mouse plasma dataset comprises a total of 1,103 biochemicals, 983 compounds of known identity (named biochemicals) and 120 compounds of unknown structural identity (unnamed biochemicals). The present mouse cecal dataset comprises a total of 1,426 biochemicals, 1,115 compounds of known identity (named biochemicals) and 311 compounds of unknown structural identity (unnamed biochemicals).  The present human plasma dataset comprises a total of 1,344 biochemicals, 1,101 compounds of known identity (named biochemicals) and 243 compounds of unknown structural identity (unnamed biochemicals). The present human feces dataset comprises a total of 1,752 biochemicals, 1,340 compounds of known identity (named biochemicals) and 412 compounds of unknown structural identity (unnamed biochemicals). Following normalization to account for differences in amount of biological material extracted (Human Plasma dataset only), imputation of missing values, if any, with the minimum observed value for each compound, and log transformation, Welch’s two-sample t-test and Matched Pairs t-test were used to identify biochemicals that differed significantly between experimental groups.  A summary of the numbers of biochemicals that achieved statistical significance (p ≤ 0.05), as well as those approaching significance (0.05 < p < 0.10), is shown below (Table 2).

An estimate of the false discovery rate (q-value) is calculated to take into account the multiple comparisons that normally occur in metabolomic-based studies.  For example, when analyzing 200 compounds, we would expect to see about 10 compounds meeting the p ≤ 0.05 cut-off by random chance.  The q-value describes the false discovery rate; a low q-value (q < 0.10) is an indication of high confidence in a result.  While a higher q-value indicates diminished confidence, it does not necessarily rule out the significance of a result.  Other lines of evidence may be taken into consideration when determining whether a result merits further scrutiny.  Such evidence may include a) significance in another dimension of the study, b) inclusion in a common pathway with a highly significant compound, or c) residing in a similar functional biochemical family with other significant compounds.  Refer to the Statistical Methods and Terminology section of the Appendix for general definitions and further descriptions of false discovery rate and other statistical tests used at Metabolon.

Table 2.  Summary tables for the statistical tests performed in the study.

We have also included in the electronic deliverables a file with data for each biochemical displayed as box plots like that shown in the example figures below.

Mouse Box Plots:

Human Box Plots:

Figure 1.  Visualization of the study data in box plot format and the legend for plots used in this report.  Box plots are used to convey the spread of the data with the middle 50% of the data represented by the shaded boxes and the whiskers reporting the range of the data.  The solid bar across the box represents the median value of those measured while the + represents the mean.  Data are scaled such that the median value measured across all samples was set to 1.0.  Any outliers are shown as dots outside the whiskers of the plot.

# Study Parameters

## Data Quality: Instrument and Process Variability

| Quality Control Sample | Median RSD |  |  |  |
| --- | --- | --- | --- | --- |
|  | Mouse Plasma (MTRX7) | Mouse Cecal (CMTRX) | Human Plasma (MTRX7) | Human Feces (CMTRX) |
| Internal Standards | 3% | 3% | 3% | 4% |
| Endogenous Biochemicals | 7% | 5% | 6% | 5% |

Instrument variability was determined by calculating the median relative standard deviation (RSD) for the internal standards that were added to each sample prior to injection into the mass spectrometers.  Overall process variability for the mouse cecal content and human fecal datasets were determined by calculating the median RSD for all endogenous metabolites (i.e., non-instrument standards) present in 100% of the Client Matrix samples, which are technical replicates of pooled client samples.  Overall process variability for the mouse plasma and human plasma datasets were determined by calculating the median RSD for all endogenous metabolites (i.e., non-instrument standards) present in the MTRX7 technical replicates.  Values for instrument and process variability meet Metabolon’s acceptance criteria as shown in the table above.

# Appendix

## Metabolon Platform

Sample Accessioning:  Following receipt, samples were inventoried and immediately stored at -80°C.  Each sample received was accessioned into the Metabolon LIMS system and was assigned by the LIMS a unique identifier that was associated with the original source identifier only.  This identifier was used to track all sample handling, tasks, results, etc.  The samples (and all derived aliquots) were tracked by the LIMS system.  All portions of any sample were automatically assigned their own unique identifiers by the LIMS when a new task was created; the relationship of these samples was also tracked.  All samples were maintained at -80°C until processed.

Sample Preparation:  Samples were prepared using the automated MicroLab STAR® system from Hamilton Company.  Several recovery standards were added prior to the first step in the extraction process for QC purposes.  To remove protein, dissociate small molecules bound to protein or trapped in the precipitated protein matrix, and to recover chemically diverse metabolites, proteins were precipitated with methanol under vigorous shaking for 2 min (Glen Mills GenoGrinder 2000) followed by centrifugation.  The resulting extract was divided into multiple fractions: two for analysis by two separate reverse phase (RP)/UPLC-MS/MS methods with positive ion mode electrospray ionization (ESI), one for analysis by RP/UPLC-MS/MS with negative ion mode ESI, one for analysis by HILIC/UPLC-MS/MS with negative ion mode ESI, while the remaining fractions were reserved for backup.  Samples were placed briefly on a TurboVap® (Zymark) to remove the organic solvent.  The sample extracts were stored overnight under nitrogen before preparation for analysis.

QA/QC:  Several types of controls were analyzed in concert with the experimental samples: a pooled matrix sample generated by taking a small volume of each experimental sample (or alternatively, use of a pool of well-characterized human plasma) served as a technical replicate throughout the data set; extracted water samples served as process blanks; and a cocktail of QC standards that were carefully chosen not to interfere with the measurement of endogenous compounds were spiked into every analyzed sample, allowed instrument performance monitoring and aided chromatographic alignment.  Tables 1 and 2 describe these QC samples and standards.  Instrument variability was determined by calculating the median relative standard deviation (RSD) for the standards that were added to each sample prior to injection into the mass spectrometers.  Overall process variability was determined by calculating the median RSD for all endogenous metabolites (i.e., non-instrument standards) present in 100% of the pooled matrix samples.  Experimental samples were randomized across the platform run with QC samples spaced evenly among the injections, as outlined in Figure 1 below.

| Type | Description | Purpose |
| --- | --- | --- |
| MTRX | Large pool of human plasma maintained by Metabolon that has been characterized extensively. | Assure that all aspects of the Metabolon process are operating within specifications. |
| CMTRX | Pool created by taking a small aliquot from every customer sample. | Assess the effect of a non-plasma matrix on the Metabolon process and distinguish biological variability from process variability. |
| PRCS | Aliquot of ultra-pure water | Process Blank used to assess the contribution to compound signals from the process. |

Table 1:  Description of Metabolon QC Samples

| Type | Description | Purpose |
| --- | --- | --- |
| RS | Recovery Standard | Assess variability and verify performance of extraction and instrumentation. |
| IS | Internal Standard | Assess variability and performance of instrument. |

Table 2.  Metabolon QC Standards.

Figure 1.  Preparation of client-specific technical replicates.  A small aliquot of each client sample (colored cylinders) is pooled to create a CMTRX technical replicate sample (multi-colored cylinder), which is then injected periodically throughout the platform run.  Variability among consistently detected biochemicals can be used to calculate an estimate of overall process and platform variability.

Ultrahigh Performance Liquid Chromatography-Tandem Mass Spectroscopy (UPLC-MS/MS):  All methods utilized a Waters ACQUITY ultra-performance liquid chromatography (UPLC) and a Thermo Scientific Q-Exactive high resolution/accurate mass spectrometer interfaced with a heated electrospray ionization (HESI-II) source and Orbitrap mass analyzer operated at 35,000 mass resolution (PMID: 32445384).  The dried sample extract were then reconstituted in solvents compatible to each of the four methods.  Each reconstitution solvent contained a series of standards at fixed concentrations to ensure injection and chromatographic consistency.  One aliquot was analyzed using acidic positive ion conditions, chromatographically optimized for more hydrophilic compounds (PosEarly).  In this method, the extract was gradient eluted from a C18 column (Waters UPLC BEH C18-2.1x100 mm, 1.7 µm) using water and methanol, containing 0.05% perfluoropentanoic acid (PFPA) and 0.1% formic acid (FA).  Another aliquot was also analyzed using acidic positive ion conditions, however it was chromatographically optimized for more hydrophobic compounds (PosLate).  In this method, the extract was gradient eluted from the same aforementioned C18 column using methanol, acetonitrile, water, 0.05% PFPA and 0.01% FA and was operated at an overall higher organic content.  Another aliquot was analyzed using basic negative ion optimized conditions using a separate dedicated C18 column (Neg).  The basic extracts were gradient eluted from the column using methanol and water, however with 6.5mM Ammonium Bicarbonate at pH 8.  The fourth aliquot was analyzed via negative ionization following elution from a HILIC column (Waters UPLC BEH Amide 2.1x150 mm, 1.7 µm) using a gradient consisting of water and acetonitrile with 10mM Ammonium Formate, pH 10.8 (HILIC). The MS analysis alternated between MS and data-dependent MSn scans using dynamic exclusion.  The scan range varied slightly between methods but covered 70-1000 m/z.  Raw data files are archived and extracted as described below.

Bioinformatics:  The informatics system consisted of four major components, the Laboratory Information Management System (LIMS), the data extraction and peak-identification software, data processing tools for QC and compound identification, and a collection of information interpretation and visualization tools for use by data analysts.  The hardware and software foundations for these informatics components were the LAN backbone, and a database server running Oracle 10.2.0.1 Enterprise Edition.

LIMS:  The purpose of the Metabolon LIMS system was to enable fully auditable laboratory automation through a secure, easy to use, and highly specialized system.  The scope of the Metabolon LIMS system encompasses sample accessioning, sample preparation and instrumental analysis and reporting and advanced data analysis.  All of the subsequent software systems are grounded in the LIMS data structures.  It has been modified to leverage and interface with the in-house information extraction and data visualization systems, as well as third party instrumentation and data analysis software.

Data Extraction and Compound Identification:  Raw data was extracted, peak-identified and QC processed using a combination of Metabolon developed software services (applications).  Each of these services perform a specific task independently, and they communicate/coordinate with each other using industry-standard protocols.  Compounds were identified by comparison to library entries of purified standards or recurrent unknown entities.  Metabolon maintains a library based on authenticated standards that contains the retention time/index (RI), mass to charge ratio (m/z), and fragmentation data on all molecules present in the library.  Furthermore, biochemical identifications are based on three criteria: retention index within a narrow RI window of the proposed identification, accurate mass match to the library +/- 10 ppm, and the MS/MS forward and reverse scores between the experimental data and authentic standards.  The MS/MS scores are based on a comparison of the ions present in the experimental spectrum to the ions present in the library spectrum.  While there may be similarities between molecules based on one of these factors, the use of all three data points is utilized to distinguish and differentiate biochemicals.  More than 5,400 commercially available purified or in-house synthesized standard compounds have been acquired and analyzed on all platforms for determination of their analytical characteristics.  An additional 7000 mass spectral entries have been created for structurally unnamed biochemicals, which have been identified by virtue of their recurrent nature (both chromatographic and mass spectral).  These compounds have the potential to be identified by future acquisition of a matching purified standard or by classical structural analysis.  Metabolon continuously adds biologically-relevant compounds to its chemical library to further enhance its level of Tier 1 metabolite identifications.

Compound Quality Control:  A variety of curation procedures were carried out to ensure that a high-quality data set was made available for statistical analysis and data interpretation.  The QC and curation processes were designed to ensure accurate and consistent identification of true chemical entities, and to remove or correct those representing system artifacts, mis-assignments, mis-integration and background noise.  Metabolon data analysts use proprietary visualization and interpretation software to confirm the consistency of peak identification and integration among the various samples.

Metabolite Quantification and Data Normalization:  Peaks were quantified using area-under-the-curve.  For studies spanning multiple days, a data normalization step was performed to correct variation resulting from instrument inter-day tuning differences.  Essentially, each compound was corrected in run-day blocks by registering the medians to equal one (1.00) and normalizing each data point proportionately (termed the “block correction”, Figure 2).  For studies that did not require more than one day of analysis, no normalization is necessary, other than for purposes of data visualization.  In certain instances, biochemical data may have been normalized to an additional factor (e.g., cell counts, total protein as determined by Bradford assay, osmolality, etc.) to account for differences in metabolite levels due to differences in the amount of material present in each sample.

Figure 2.  Visualization of data normalization steps for a multiday platform run.

## Statistical Methods and Terminology

Statistical Calculations:  For many studies, two types of statistical analysis are usually performed: (1) significance tests and (2) classification analysis.  Standard statistical analyses are performed in ArrayStudio/Jupyter Notebook on log transformed data.  For those analyses not standard in ArrayStudio/Jupyter Notebook, the programs R (http://cran.r-project.org/) or JMP are used.  Below are examples of frequently employed significance tests and classification methods followed by a discussion of p- and q-value significance thresholds.

- Principal Component Analysis (PCA)

Principal component analysis is an unsupervised analysis that reduces the dimension of the data.  Each principal component is a linear combination of every metabolite, and the principal components are uncorrelated.  The number of principal components is equal to the number of observations.  The first principal component is computed by determining the coefficients of the metabolites that maximizes the variance of the linear combination.  The second component finds the coefficients that maximize the variance with the condition that the second component is orthogonal to the first.  The third component is orthogonal to the first two components and so on.  The total variance is defined as the sum of the variances of the predicted values of each component (the variance is the square of the standard deviation), and for each component, the proportion of the total variance is computed.  For example, if the standard deviation of the predicted values of the first principal component is 0.4 and the total variance = 1, then 100*0.4*0.4/1 = 16% of the total variance is explained by the first component.  Since this is an unsupervised method, the main components may be unrelated to the treatment groups, and the “separation” does not give an estimate of the true predictive ability.

- Welch’s two-sample t-test

Welch’s two-sample t-test is used to test whether two unknown means are different from two independent populations.

This version of the two-sample t-test allows for unequal variances (variance is the square of the standard deviation) and has an approximate t-distribution with degrees of freedom estimated using Satterthwaite’s approximation.  The test statistic is given by t= (x1-x2)/s12/n1+s22/n2 , and the degrees of freedom is given by s12n1+s22n22/s12n12n1-1+s22n22n2-1 , where x1, x2 are the sample means, s1, s2, are the sample standard deviations, and n1, n2 are the samples sizes from groups 1 and 2, respectively.  We typically use a two-sided test (tests whether the means are different) as opposed to a one-sided test (tests whether one mean is greater than the other).

- Pooled two-sample t-test

For comparing two group means from independent populations, this is a t-test that assumes the two unknown population variances are equal.  Let x1, x2 represent the sample means, and s1, s2 represent the sample standard deviations, and let n1, n2 represent the two sample sizes.  Since the variances are assumed equal, we estimate this with a pooled estimate, sp2 = (n1 – 1)s12 + (n2-1)s22.

The test statistic is t= x1-  x2sp1n1+1n2 with degrees of freedom = n1 + n2 – 2.

In this case, the p-value is identical to that from a one-way ANOVA.

- Matched pairs t-test

The matched pairs t-test is used to test whether two unknown means are different from paired observations taken on the same subjects.  The matched pairs t-test is equivalent to the one-sample t-test performed on the differences of the observations taken on each subject (i.e., calculate (x1 – x2) for each subject; test whether the mean difference is zero or not).  The test statistic is given by t= (x1-x2)/(sd/n), with n – 1 degrees of freedom, where x1, x2 are the sample means for groups 1 and 2, respectively, sd is the standard deviation of the differences, n is the number of subjects (so there are 2n observations).

- p-values

For statistical significance testing, p-values are given.  The lower the p-value, the more evidence we have that the null hypothesis (typically that two population means are equal) is not true.  If “statistical significance” is declared for p-values less than 0.05, then 5% of the time we incorrectly conclude the means are different, when actually they are the same.

The p-value is the probability that the test statistic is at least as extreme as observed in this experiment given that the null hypothesis is true.  Hence, the more extreme the statistic, the lower the p-value and the more evidence the data gives against the null hypothesis.

- q-values

The level of 0.05 is the false positive rate when there is one test.  However, for a large number of tests we need to account for false positives.  There are different methods to correct for multiple testing.  The oldest methods are family-wise error rate adjustments (Bonferroni, Tukey, etc.), but these tend to be extremely conservative for a very large number of tests.  With gene arrays, using the False Discovery Rate (FDR) is more common.  The family-wise error rate adjustments give one a high degree of confidence that there are zero false discoveries.  However, with FDR methods, one can allow for a small number of false discoveries.  The FDR for a given set of compounds can be estimated using the q-value (see Storey J and Tibshirani R. (2003), PMID: 12883005).

In order to interpret the q-value, the data must first be sorted by the p-value then choose the cutoff for significance (typically p < 0.05).  The q-value gives the false discovery rate for the selected list (i.e., an estimate of the proportion of false discoveries for the list of compounds whose p-value is below the cutoff for significance).  For Table 1 below, if the whole list is declared significant, then the false discovery rate is approximately 10%.  If everything from Compound 079 and above is declared significant, then the false discovery rate is approximately 2.5%.

Table 1.  Example of q-value interpretation